## 0000_ Sample Site - EQ List
Status | OWNER | Purchased | INTERNAL ID | CUSTOMER ID | Location | TYPE1 | TYPE2 | SIZE | RATING | CONNECTION TYPE | Description | Manufacturer | Vendor | Model | Details | Cost | Lead Time | PO Number | PO Issue Date | Ship Date | Redbox Row 1 | Redbox Row 2 | Redbox Row 3 | Filename
|  | PARENT | [8 empty] | Boiler Package B
|  | PARENT | [8 empty] | Combustion Air - Instrument Rack
Approved | CZ | NO | E104 |  | Utility Corridor | Bellows | Expansion Joint | 2" |  |  | Expansion Joint, 2" | Birchwood Controls | Birchwood Controls | LT85-B3 | [6 empty] | E104 | LT85-B3 | 2" | E104 Birchwood Controls LT85-B3
|  | PARENT | [8 empty] | Boiler Package A - Instrument Rack
Approved | BQ | N/R | V103 | C22A | Roof Deck | Valve | Butterfly | 1-1/2" | 150# | SW | Butterfly valve, 1-1/2" | Northgate Fittings | Juniper Bellows | HR-641/5 | With bracket | [5 empty] | V103 | HR-641/5 | 1-1/2" 150# SW | V103 Northgate Fittings HR-641/5
Approved | BQ | N/R | A104A |  | North Yard | Purchased Assm | Skid |  |  |  | Packaged skid assembly | Fernhill Instruments | Acme Valve/Fittings [West]: Ltd? | KV81-C6 | Carbon steel | [5 empty] | A104A | KV81-C6 |  | A104A Fernhill Instruments KV81-C6
Approved | BQ | N/R | T102 |  | Tank Farm | Tank | Expansion |  |  |  | Expansion tank | Alder Valve Co | Cedar Flow Systems | DP25-A8 | Brass | [5 empty] | T102 | DP25-A8 |  | T102 Alder Valve Co DP25-A8
Approved | BQ | NO | P104B |  | North Yard | Pump | Diaphragm |  |  |  | Diaphragm pump, close-coupled | Northgate Fittings | Juniper Bellows | LT170 | [6 empty] | P104B | LT170 |  | P104B Northgate Fittings LT170
For Approval | BQ | N/R | T103 |  | Pump Room | Tank | Expansion |  |  |  | Expansion tank | Fernhill Instruments | Hollis Thermal | FX-542/4 | [6 empty] | T103 | FX-542/4 |  | T103 Fernhill Instruments FX-542/4
Approved | AX | N/R | I103 | C21A | Utility Corridor | Instrument | Level Switch |  |  |  | Level Switch | Marlow Heaters | Northgate Fittings | QM77-E3 | NACE | [5 empty] | I103 | QM77-E3 |  | I103 Marlow Heaters QM77-E3
Approved | AX | N/R | S101 |  | Pump Room | Strainer | Y-Type | 3" |  | FLANGED | Y-Type strainer, 3" | Juniper Bellows |  | KV40-C5 | Brass | [5 empty] | S101 | KV40-C5 | 3" FLANGED | S101 Juniper Bellows KV40-C5
Approved | CZ | N/R | A105B |  | Control Room | Purchased Assm | Pressure Transmitter (4-20mA) |  |  |  | Packaged skid assembly | Birchwood Controls | Dunmore Pumps | FX119 | Stainless | [5 empty] | A105B | FX119 |  | A105B Birchwood Controls FX119
|  | PARENT | [8 empty] | Boiler Package B - Vent Group
|  | PARENT | T104B |  | Tank Farm | Tank |  |  |  |  | Pilot Skid | Marlow Heaters | [8 empty] | T104B |  |  | T104B Fuel Gas Train
Approved | CZ | N/R | S104 |  | Pump Room | Strainer | Y-Type | 1/4" | 800# | BW | Y-Type strainer, 1/4" | Alder Valve Co | Hollis Thermal | ZN799 | [6 empty] | S104 | ZN799 | 1/4" 800# BW | S104 Alder Valve Co ZN799
Approved | CZ | NO | B104A |  | Boiler House | Burner | Dual fuel |  |  |  | Dual fuel burner assembly | Elmstead Burners | Alder Valve Co | HR19-D2 | [6 empty] | B104A | HR19-D2 |  | B104A Elmstead Burners HR19-D2
Approved | BQ | N/R | B108B |  | Pump Room | Burner | Dual fuel |  |  |  | Dual fuel burner assembly | Kestrel Fluid Tech | alder valve co | FX58-D9 | 316SS | [5 empty] | B108B | FX58-D9 |  | B108B Kestrel Fluid Tech FX58-D9
Approved | BQ | INCLUDED | T105 |  | Fuel Skid | Tank | Day tank |  |  |  | Day tank tank | Hollis Thermal | Hollis Thermal | QM84-F5 | [6 empty] | T105 | QM84-F5 |  | T105 Hollis Thermal QM84-F5
Approved | CZ | NO | P107 |  | Fuel Skid | Pump | Diaphragm |  |  |  | Diaphragm transfer pump | Fernhill Instruments | Juniper Bellows | FX-199/4 | [6 empty] | P107 | FX-199/4 |  | P107 Fernhill Instruments FX-199/4
Approved | AX | NO | E105 |  | Process Bay | Bellows | Expansion Joint | 1/4" | 150# | FLANGED | Expansion Joint, 1/4" | Elmstead Burners | Dunmore Pumps | DP263 | [6 empty] | E105 | DP263 | 1/4" 150# FLANGED | E105 Elmstead Burners DP263
Approved | AX | NO | M101 |  | Pump Room | Motor | ODP |  |  |  | ODP motor, 3-phase | Fernhill Instruments | Cedar Flow Systems | LT38-F6 | Supplier to confirm gasket material. See spec section 3.2 for hydrotest requirements before shipment. | [5 empty] | M101 | LT38-F6 |  | M101 Fernhill Instruments LT38-F6
Approved | AX | N/R | H102 | C3 | Process Bay | Heater | Electric | 3/4" |  |  | Electric heater | Larkspur Gauges | Cedar Flow Systems | FX58-A4 | [6 empty] | H102 | FX58-A4 | 3/4" | H102 Larkspur Gauges FX58-A4
|  | PARENT | A108A |  | Tank Farm | Purchased Assm |  |  |  |  | Strainer Group | [9 empty] | A108A |  |  | A108A Vent Group
|  | PARENT | M104 |  | Boiler House | Motor |  | 1-1/2" |  |  | Isolation Valves | [9 empty] | M104 |  | 1-1/2" SW | M104 Instrument Rack
Approved | BQ | N/R | M106A |  | Fuel Skid | Motor | ODP |  |  |  | ODP motor with VFD duty rating | Elmstead Burners | Juniper Bellows | LT-663/5 | Brass | [5 empty] | M106A | LT-663/5 |  | M106A Elmstead Burners LT-663/5
Approved | AX | N/R | B111 |  | Tank Farm | Burner | Dual fuel |  |  |  | Dual fuel burner assembly | Northgate Fittings | Acme Valve/Fittings [West]: Ltd? | HR-880/3 | With bracket | [5 empty] | B111 | HR-880/3 |  | B111 Northgate Fittings HR-880/3
Approved | CZ | NO | B114A |  | Control Room | Burner | Gas | 1" |  |  | Gas burner assembly | Cedar Flow Systems | Alder Valve Co | ZN-899/7 | [6 empty] | B114A | ZN-899/7 | 1" | B114A Cedar Flow Systems ZN-899/7
Approved | CZ | N/R | I107 |  | Fuel Skid | Instrument | Temperature Transmitter | 2" |  |  | Temperature Transmitter | Hollis Thermal | Northgate Fittings | KV741 | 0-100 psi | 1250 |  |  |  |  | I107 | KV741 | 2" | I107 Hollis Thermal KV741
Approved | CZ | NO | T109 |  | Fuel Skid | Tank | Expansion |  |  |  | Expansion tank | Cedar Flow Systems | Birchwood Controls | ZN909 | [6 empty] | T109 | ZN909 |  | T109 Cedar Flow Systems ZN909
Approved | BQ | N/R | S106 |  | Tank Farm | Strainer | Basket | 1" |  |  | Basket strainer, 1" | Kestrel Fluid Tech | Juniper Bellows | KV-441/4 | With bracket | [5 empty] | S106 | KV-441/4 | 1" | S106 Kestrel Fluid Tech KV-441/4
Approved | CZ | N/R | S109B | C19A | Pump Room | Strainer | Basket | 1/2" |  | NPT | Basket strainer, 1/2" | Larkspur Gauges | Fernhill Instruments | LT15-C1 | [6 empty] | S109B | LT15-C1 | 1/2" NPT | S109B Larkspur Gauges LT15-C1
Approved | CZ | N/R | T111 |  | Utility Corridor | Tank | Expansion |  |  |  | Expansion tank | Ironbark Strainers | Alder Valve Co | QM76-D7 | [6 empty] | T111 | QM76-D7 |  | T111 Ironbark Strainers QM76-D7
Approved | CZ | N/R | A111 |  | Process Bay | Purchased Assm | Skid |  |  |  | Packaged skid assembly | Kestrel Fluid Tech | International Combustion & Controls Corporation of America | DP283 | NACE | [5 empty] | A111 | DP283 |  | A111 Kestrel Fluid Tech DP283
Approved | CZ | N/R | H106 |  | Pump Room | Heater | Immersion |  |  |  | Immersion heater | Northgate Fittings | Alder Valve Co | KV-563/8 | [6 empty] | H106 | KV-563/8 |  | H106 Northgate Fittings KV-563/8
Approved | CZ | NO | H110A | C30A | Control Room | Heater | Electric |  |  |  | Electric heater | Birchwood Controls | Dunmore Pumps | QM55-F4 | [6 empty] | H110A | QM55-F4 |  | H110A Birchwood Controls QM55-F4
Approved | CZ | N/R | I109A |  | Roof Deck | Instrument | Temperature Transmitter |  |  |  | Temperature Transmitter | Larkspur Gauges | Fernhill Instruments | HR-590/6 | [6 empty] | I109A | HR-590/6 |  | I109A Larkspur Gauges HR-590/6
Approved | CZ | N/R | I111 |  | Control Room | Instrument | Flow Switch |  |  |  | Flow Switch, loop powered | Larkspur Gauges | Northgate Fittings | ZN-809/9 | [6 empty] | I111 | ZN-809/9 |  | I111 Larkspur Gauges ZN-809/9
Approved | CZ | NO | 7.2 | C33A | Utility Corridor | Heater | Electric |  |  |  | Electric heater | Larkspur Gauges | Birchwood Controls | QM338 | [6 empty] | 7.2 | QM338 |  | H113A Larkspur Gauges QM338
Approved | CZ | NO | T114 |  | Control Room | Tank | Day tank |  |  |  | Day tank tank | Juniper Bellows | Northgate Fittings | FX-751/4 | Stainless | [5 empty] | T114 | FX-751/4 |  | T114 Juniper Bellows FX-751/4
Approved | CZ | N/R | H116 |  | North Yard | Heater | Immersion |  |  |  | Immersion heater | Alder Valve Co | Hollis Thermal | QM962 | [6 empty] | H116 | QM962 |  | H116 Alder Valve Co QM962
|  | PARENT | A115A |  | Utility Corridor | Purchased Assm |  | 3x4 |  |  | Fuel Gas Train | [9 empty] | A115A |  | 3x4 SW | A115A Expansion Group
Approved | AX | N/R | H119A | C13 | Mezzanine Level | Heater | Electric |  |  |  | Electric heater | Marlow Heaters | Fernhill Instruments | FX174 | Field-verify nozzle orientation against the piping layout; revised drawing to follow from engineering once the skid footprint is fixed. | [5 empty] | H119A | FX174 |  | H119A Marlow Heaters FX174
Approved | BQ | N/R | M110 |  | Boiler House | Motor | ODP |  |  |  | ODP motor, 3-phase | Larkspur Gauges | Hollis Thermal | ZN710 | Locking handle | [5 empty] | M110 | ZN710 |  | M110 Larkspur Gauges ZN710
Approved | BQ | NO | B116 |  | Roof Deck | Burner | Dual fuel |  |  |  | Dual fuel burner assembly | Fernhill Instruments | Dunmore Pumps | ZN687 | [6 empty] | B116 | ZN687 |  | B116 Fernhill Instruments ZN687
Approved | BQ | NO | M111B |  | Utility Corridor | Motor | ODP |  |  |  | ODP motor, 3-phase | Northgate Fittings |  | LT962 | 316SS | [5 empty] | M111B | LT962 |  | M111B Northgate Fittings LT962
Approved | AX | N/R | P110 |  | Control Room | Pump | Diaphragm |  |  |  | Diaphragm pump, close-coupled | Fernhill Instruments | Cedar Flow Systems | HR84-C3 | Locking handle | [5 empty] | P110 | HR84-C3 |  | P110 Fernhill Instruments HR84-C3
Approved | CZ | NO | B120 |  | Fuel Skid | Burner | Gas | 3x4 |  |  | Gas burner assembly | Birchwood Controls | Hollis Thermal | QM74-B1 | Fail closed | [5 empty] | B120 | QM74-B1 | 3x4 | B120 Birchwood Controls QM74-B1
Approved | BQ | NO | B121B |  | Pump Room | Burner | Dual fuel |  |  |  | Dual fuel burner assembly | Northgate Fittings | Fernhill Instruments | LT-965/3 | [6 empty] | B121B | LT-965/3 |  | B121B Northgate Fittings LT-965/3
|  | PARENT | [8 empty] | Heat Recovery
|  | PARENT | [8 empty] | Boiler Package B - Pump Package
For Approval | CZ | NO | V104 |  | Roof Deck | Valve | Ball | 2" |  |  | Ball valve, 2", 150# | Elmstead Burners | Alder Valve Co | FX71-D5 | [6 empty] | V104 | FX71-D5 | 2" | V104 Elmstead Burners FX71-D5
Approved | AX | N/R | E109 |  | Control Room | Bellows | Expansion Joint | 1/2" |  |  | Expansion Joint, 1/2" | Juniper Bellows | Birchwood Controls | DP652 | [6 empty] | E109 | DP652 | 1/2" | E109 Juniper Bellows DP652
Approved | CZ | NO | A117B |  | Roof Deck | Purchased Assm | Skid |  |  |  | Packaged skid assembly | Kestrel Fluid Tech | Juniper Bellows | DP341 | [6 empty] | A117B | DP341 |  | A117B Kestrel Fluid Tech DP341
Approved | CZ | NO | H121 |  | Tank Farm | Heater | Electric |  |  |  | Electric heater | Marlow Heaters | Dunmore Pumps | LT645 | Cast iron body | [5 empty] | H121 | LT645 |  | H121 Marlow Heaters LT645
Approved | AX | N/R | I113 | C40 | Roof Deck | Instrument | Pressure Transmitter |  |  |  | Pressure Transmitter | Hollis Thermal | International Combustion & Controls Corporation of Asia | FX-207/8 | [6 empty] | I113 | FX-207/8 |  | I113 Hollis Thermal FX-207/8
Approved | BQ | N/R | A118A |  | Control Room | Purchased Assm | Skid |  |  |  | Packaged skid assembly | Birchwood Controls | Alder Valve Co | HR520 | 0-100 psi | [5 empty] | A118A | HR520 |  | A118A Birchwood Controls HR520
Approved | CZ | NO | B123 |  | Mezzanine Level | Burner | Gas |  |  |  | Gas burner assembly | Larkspur Gauges | Northgate Fittings | LT831 | [6 empty] | B123 | LT831 |  | B123 Larkspur Gauges LT831
Approved | AX | N/R | B127 | C2 | Boiler House | Burner | Gas | 3" |  |  | Gas burner assembly | Northgate Fittings | Dunmore Pumps | FX-766/7 | [6 empty] | B127 | FX-766/7 | 3" | B127 Northgate Fittings FX-766/7
Approved | CZ | N/R | H123 |  | Boiler House | Heater | Immersion |  |  |  | Immersion heater | Elmstead Burners | Hollis Thermal | FX90-D2 | With bracket | [5 empty] | H123 | FX90-D2 |  | H123 Elmstead Burners FX90-D2
Approved | BQ | NO | S111 |  | North Yard | Strainer | Basket | 3" |  | SW | Basket strainer, 3" | Cedar Flow Systems | Hollis Thermal | FX916 | Brass | [5 empty] | S111 | FX916 | 3" SW | S111 Cedar Flow Systems FX916
Approved | CZ | N/R | S113 |  | Control Room | Strainer | Basket | 2-1/2" |  |  | Basket strainer, 2-1/2" | Cedar Flow Systems | Northgate Fittings | FX419 | Includes mounting hardware. Spare seal kit to ship loose. Tag plate to be stainless steel, wired to the unit. | [5 empty] | S113 | FX419 | 2-1/2" | S113 Cedar Flow Systems FX419
Approved | AX | N/R | T117 |  | Control Room | Tank | Expansion |  |  |  | Expansion tank | Juniper Bellows | Hollis Thermal | DP44-D3 | [6 empty] | T117 | DP44-D3 |  | T117 Juniper Bellows DP44-D3
|  | PARENT | [8 empty] | Combustion Air - Isolation Valves
|  | PARENT | I114 |  | Process Bay | Instrument |  |  |  |  | Expansion Group | [9 empty] | I114 |  |  | I114 Pump Package
Approved | AX | N/R | A119A |  | Tank Farm | Purchased Assm | Skid | 2" |  |  | Packaged skid assembly | Cedar Flow Systems | Birchwood Controls | FX-908/4 | Stainless | [5 empty] | A119A | FX-908/4 | 2" | A119A Cedar Flow Systems FX-908/4
Approved | AX | N/R | S115A |  | Roof Deck | Strainer | Basket | 1/4" | 150# | BW | Basket strainer, 1/4" | Alder Valve Co | Northgate Fittings | FX11-D3 |  |  | 8wk |  |  |  | S115A | FX11-D3 | 1/4" 150# BW | S115A Alder Valve Co FX11-D3
|  | PARENT | P111 |  | Tank Farm | Pump |  |  |  |  | Strainer Group | [9 empty] | P111 |  |  | P111 Vent Group
Approved | BQ | N/R | S119B |  | Pump Room | Strainer | Basket | 2" |  | NPT | Basket strainer, 2" | Alder Valve Co | Hollis Thermal | ZN-798/5 | [6 empty] | S119B | ZN-798/5 | 2" NPT | S119B Alder Valve Co ZN-798/5
Approved | CZ | NO | S120 | C22 | Boiler House | Strainer | Basket | 3x4 |  | NPT | Basket strainer, 3x4 | Kestrel Fluid Tech | Alder Valve Co | DP47-A2 | [6 empty] | S120 | DP47-A2 | 3x4 NPT | S120 Kestrel Fluid Tech DP47-A2
Approved | AX | N/R | I116 |  | Boiler House | Instrument | Flow Switch |  |  |  | Flow Switch, loop powered | Marlow Heaters | Fernhill Instruments | DP-702/9 | [6 empty] | I116 | DP-702/9 |  | I116 Marlow Heaters DP-702/9
Approved | AX | N/R | B128 |  | Roof Deck | Burner | Dual fuel |  |  |  | Dual fuel burner assembly | Kestrel Fluid Tech | Dunmore Pumps | HR384 | [6 empty] | B128 | HR384 |  | B128 Kestrel Fluid Tech HR384
Approved | AX | N/R | E113 | C38 | Boiler House | Bellows | Expansion Joint | 1-1/2" |  | FLANGED | Expansion Joint, 1-1/2" | Elmstead Burners | Alder Valve Co | KV-428/7 | Locking handle | [5 empty] | E113 | KV-428/7 | 1-1/2" FLANGED | E113 Elmstead Burners KV-428/7
Approved | AX | N/R | E115A |  | Process Bay | Bellows | Expansion Joint | 2-1/2" |  | FLANGED | Expansion Joint, 2-1/2" | Elmstead Burners | Dunmore Pumps | LT513 | [6 empty] | E115A | LT513 | 2-1/2" FLANGED | E115A Elmstead Burners LT513
Approved | CZ | NO | T120A |  | Pump Room | Tank | Expansion |  |  |  | Expansion tank | Fernhill Instruments |  | KV311 | Locking handle | [5 empty] | T120A | KV311 |  | T120A Fernhill Instruments KV311
|  | PARENT | H125 |  | Mezzanine Level | Heater |  |  |  |  | Fuel Gas Train | [9 empty] | H125 |  |  | H125 Fuel Gas Train
Approved | BQ | N/R | A120 |  | Fuel Skid | Purchased Assm | Skid |  |  |  | Packaged skid assembly | Cedar Flow Systems | Dunmore Pumps | KV-821/7 | [6 empty] | A120 | KV-821/7 |  | A120 Cedar Flow Systems KV-821/7
Approved | CZ | NO | S122 | C25 | Fuel Skid | Strainer | Y-Type | 3" |  | FLANGED | Y-Type strainer, 3" | Northgate Fittings | Birchwood Controls | HR74-F6 | [6 empty] | S122 | HR74-F6 | 3" FLANGED | S122 Northgate Fittings HR74-F6
Approved | CZ | N/R | A124A |  | North Yard | Purchased Assm | Skid |  |  |  | Packaged skid assembly | Larkspur Gauges | Northgate Fittings | QM563 | With bracket | [5 empty] | A124A | QM563 |  | A124A Larkspur Gauges QM563
Approved | BQ | NO | P114 |  | North Yard | Pump | Gear |  |  |  | Gear transfer pump | Kestrel Fluid Tech | Fernhill Instruments | DP855 | [6 empty] | P114 | DP855 |  | P114 Kestrel Fluid Tech DP855
|  | PARENT | [8 empty] | Combustion Air - Pilot Skid
Approved | CZ | N/R | H128B |  | Boiler House | Heater | Immersion |  |  |  | Immersion heater | Marlow Heaters | Cedar Flow Systems | KV-910/3 | [6 empty] | H128B | KV-910/3 |  | H128B Marlow Heaters KV-910/3
Approved | AX | N/R | B129 |  | North Yard | Burner | Gas |  |  |  | Gas burner assembly | Juniper Bellows | Northgate Fittings | HR28-E1 | [6 empty] | B129 | HR28-E1 |  | B129 Juniper Bellows HR28-E1
Approved | BQ | NO | M112A |  | Control Room | Motor | ODP |  |  |  | ODP motor with VFD duty rating | Northgate Fittings | Dunmore Pumps | HR-622/6 | Locking handle | [5 empty] | M112A | HR-622/6 |  | M112A Northgate Fittings HR-622/6
|  | PARENT | [8 empty] | Boiler Package B - Isolation Valves
Approved | BQ | N/R | T123A |  | Fuel Skid | Tank | Day tank |  |  |  | Day tank tank | Ironbark Strainers | Northgate Fittings | LT-316/2 | Stainless | [5 empty] | T123A | LT-316/2 |  | T123A Ironbark Strainers LT-316/2
Approved | BQ | NO | V105 | C1A | Pump Room | Valve | Butterfly | 1/2" |  | BW | Butterfly valve, 1/2" | Juniper Bellows | Fernhill Instruments | DP-122/4 | [6 empty] | V105 | DP-122/4 | 1/2" BW | V105 Juniper Bellows DP-122/4